{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["1.1 扉-1 扉页","2.1 表-08 分部分项工程和单价措施项目清单与计价表","2.2 表-11 总价措施项目清单与计价表","2.3 表-12 其他项目清单与计价汇总表","2.4 表-12-1 暂列金额明细表","2.5 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 扉-1 扉页","index":0,"n_rows":16,"n_cols":8,"rows_kept":16,"merged":[[1,2,1,6],[3,0,3,9],[5,1,5,2],[5,6,5,8],[6,6,6,8],[8,1,9,2],[8,3,9,3],[8,5,9,5],[9,6,9,8],[10,6,10,8],[12,1,12,2],[12,6,12,8],[13,6,13,8],[15,1,15,2],[15,6,15,8]],"flags":["formulas_cached_only"]}
[]
[null,null,"南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",{"$nulls":4},"工程"]
[]
["招标工程量清单"]
[]
[null,"招  标  人：",{"$nulls":3},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[null,"编  制  人：",{"$nulls":3},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",null,null,"（造价工程师签字盖专用章）"]
[]
[null,"编 制 时 间：",null,"2021年02月02日",null,"复 核 时 间：","2021年02月02日"]

{"sheet":"2.1 表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":51,"n_cols":9,"rows_kept":51,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[12,0,12,6],[14,0,14,8],[15,0,15,8],[16,0,16,4],[16,6,16,8],[17,0,19,0],[17,1,19,1],[17,2,19,2],[17,3,19,3],[17,4,19,4],[17,5,19,5],[17,6,17,8],[18,6,19,6],[18,7,19,7],[21,2,21,3],[23,2,23,3],[47,0,47,6],[48,0,48,6],[50,0,50,8]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",{"$nulls":4},"标段：","第1页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["1","030404004001","低压开关柜（屏）","1、名称:开关柜\n2、型号:出线柜\n3、规格:1AA14\n4、种类:包含开关、避雷器、保护装置、仪表、计量表、互感器、消谐器、微机保护等图纸所有电气元器件及母铜排、盘柜配附件、相邻配电柜连接母排等图纸所有配套附件","台","1"]
["2","030404004002","低压开关柜（屏）","1、名称:开关柜\n2、型号:出线柜\n3、规格:2AA13\n4、种类:包含开关、避雷器、保护装置、仪表、计量表、互感器、消谐器、微机保护等图纸所有电气元器件及母铜排、盘柜配附件、相邻配电柜连接母排等图纸所有配套附件","台","1"]
["3","030403006001","低压封闭式插接母线槽","1、名称:封闭型母线\n2、规格:2000A/5P<配相同规格的始端箱>\n3、其他:含母线支架等图纸所示全部内容","m","12"]
["4","030414002001","送配电装置系统","1、名称:送配电系统调试\n2、电压等级（kV）:1kV 以下交流","系统","2"]
["5","030414008001","母线","1、名称:母线调试\n2、电压等级（kV）:1KV以下","段","2"]
["6","030414009001","避雷器","1、名称:避雷器调试\n2、电压等级（kV）:1KV以下","组","2"]
["7","030414011001","接地装置","1、名称:变电所接地调试","系统","1"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.28】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",{"$nulls":4},"标段：","第2页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["8","03B001","投标工程量自平衡项","1、其他有关本工程的项目，若投标人认为有必要增加的，请在此清单内自行报价，并注明详情；\n2、投标人为完成本工程的一切工作与招标单位提供的工程量清单相差异的项目均须在此清单中调整，否则有关内容视作已含在其他项目清单报价内；","项","1"]
[null,null,"分部分项工程清单合计",null,null,""]
["1","031301017001","脚手架搭拆",null,"项","1"]
[null,null,"单价措施项目清单合计",null,null,""]
{"$rows_empty":23}
["本页小计"]
["合    计"]
[]
["【清单大师计价软件江苏版V9.28】"]

{"sheet":"2.2 表-11 总价措施项目清单与计价表","index":2,"n_rows":30,"n_cols":9,"rows_kept":30,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[27,0,27,4],[29,0,29,8]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",{"$nulls":4},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["1","031302001001","现场安全文明施工",null,0]
["1.1",null,"基本费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":1.5,"d":"1.500"}]
["1.2",null,"标化增加费","分部分项工程费+单价措施项目费-除税工程设备费",0]
["1.3",null,"扬尘污染防治增加费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":0.21,"d":"0.210"}]
["2","031302010001","工程按质论价","分部分项工程费+单价措施项目费-除税工程设备费",0]
["3","031302002001","夜间施工",null,0]
["4","031302004001","二次搬运",null,0]
["5","031302005001","冬雨季施工",null,0]
["6","03B002","地上、地下设施、建筑物的临时保护设施",null,0]
["7","031302006001","已完工程及设备保护费",null,0]
["8","031302008001","临时设施费",null,0]
["9","031302009001","赶工措施费",null,0]
["10","03B003","特殊条件下施工增加费",null,0]
["11","031302003001","非夜间施工照明",null,0]
["12","031302011001","住宅工程分户验收",null,0]
["13","031302012001","建筑工人实名制费用",null,0]
{"$rows_empty":8}
["合   计"]
[]
["【清单大师计价软件江苏版V9.28】"]

{"sheet":"2.3 表-12 其他项目清单与计价汇总表","index":3,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,1],[44,0,44,4]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","金额(元)","结算金额(元)","备注"]
["1","暂列金额",0]
["2","暂估价",0]
["2.1","材料暂估价",0]
["2.2","专业工程暂估价",0]
["3","计日工",0]
["4","总承包服务费",0]
{"$rows_empty":33}
["合  计",null,0]
[]
["【清单大师计价软件江苏版V9.28】"]

{"sheet":"2.4 表-12-1 暂列金额明细表","index":4,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,2],[44,0,44,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
{"$rows_empty":39}
["合  计",null,null,0]
[]
["【清单大师计价软件江苏版V9.28】"]

{"sheet":"2.5 表-13 规费、税金项目计价表","index":5,"n_rows":41,"n_cols":6,"rows_kept":41,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[38,0,38,4],[40,0,40,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：南通市中央创新区科创中心一期（南通高等研究院）/A项目 西6#变电所电力增容设备采购及安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计算基础","计算基数(元)","计算费率(％)","金额(元)"]
["1","规费",null,null,0]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":2.4,"d":"2.400"}]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":0.42,"d":"0.420"}]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,0]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",null,{"v":9,"d":"9.000"}]
{"$rows_empty":30}
["合  计"]
[]
["【清单大师计价软件江苏版V9.28】"]