{"text_format":"3","workbook":"xls","n_sheets":16,"sheets":["1.1 封-1 封面","2.1 表-08 分部分项工程和单价措施项目清单与计价表","2.2 表-11 总价措施项目清单与计价表","2.3 表-12 其他项目清单与计价汇总表","2.4 表-12-1 暂列金额明细表","2.5 表-13 规费、税金项目计价表","3.1 表-08 分部分项工程和单价措施项目清单与计价表","3.2 表-11 总价措施项目清单与计价表","3.3 表-12 其他项目清单与计价汇总表","3.4 表-12-1 暂列金额明细表","3.5 表-13 规费、税金项目计价表","4.1 表-08 分部分项工程和单价措施项目清单与计价表","4.2 表-11 总价措施项目清单与计价表","4.3 表-12 其他项目清单与计价汇总表","4.4 表-12-1 暂列金额明细表","4.5 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":16},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 封-1 封面","index":0,"n_rows":12,"n_cols":8,"rows_kept":12,"merged":[[1,1,1,6],[3,0,3,8],[5,2,5,3],[8,2,8,3],[11,3,11,5]],"flags":["formulas_cached_only"]}
[]
[null,"紫琅新天地商管、物管办公区域装修工程",{"$nulls":5},"工程"]
[]
["招标工程量清单"]
[]
[null,null,"招  标  人："]
[{"$nulls":4},"（单位盖章）"]
[]
[null,null,"造价咨询人："]
[{"$nulls":4},"（单位盖章）"]
[]
[{"$nulls":3},"2023年03月14日"]

{"sheet":"2.1 表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":127,"n_cols":9,"rows_kept":127,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[5,2,5,3],[11,0,11,6],[13,0,13,8],[14,0,14,8],[15,0,15,4],[15,6,15,8],[16,0,18,0],[16,1,18,1],[16,2,18,2],[16,3,18,3],[16,4,18,4],[16,5,18,5],[16,6,16,8],[17,6,18,6],[17,7,18,7],[23,0,23,6],[25,0,25,8],[26,0,26,8],[27,0,27,4],[27,6,27,8],[28,0,30,0],[28,1,30,1],[28,2,30,2],[28,3,30,3],[28,4,30,4],[28,5,30,5],[28,6,28,8],[29,6,30,6],[29,7,30,7],[36,0,36,6],[38,0,38,8],[39,0,39,8],[40,0,40,4],[40,6,40,8],[41,0,43,0],[41,1,43,1],[41,2,43,2],[41,3,43,3],[41,4,43,4],[41,5,43,5],[41,6,41,8],[42,6,43,6],[42,7,43,7],[49,0,49,6],[51,0,51,8],[52,0,52,8],[53,0,53,4],[53,6,53,8],[54,0,56,0],[54,1,56,1],[54,2,56,2],[54,3,56,3],[54,4,56,4],[54,5,56,5],[54,6,54,8],[55,6,56,6],[55,7,56,7],[58,2,58,3],[59,2,59,3],[65,0,65,6],[67,0,67,8],[68,0,68,8],[69,0,69,4],[69,6,69,8],[70,0,72,0],[70,1,72,1],[70,2,72,2],[70,3,72,3],[70,4,72,4],[70,5,72,5],[70,6,70,8],[71,6,72,6],[71,7,72,7],[77,0,77,6],[79,0,79,8],[80,0,80,8],[81,0,81,4],[81,6,81,8],[82,0,84,0],[82,1,84,1],[82,2,84,2],[82,3,84,3],[82,4,84,4],[82,5,84,5],[82,6,82,8],[83,6,84,6],[83,7,84,7],[92,0,92,6],[94,0,94,8],[95,0,95,8],[96,0,96,4],[96,6,96,8],[97,0,99,0],[97,1,99,1],[97,2,99,2],[97,3,99,3],[97,4,99,4],[97,5,99,5],[97,6,97,8],[98,6,99,6],[98,7,99,7],[104,0,104,6],[106,0,106,8],[107,0,107,8],[108,0,108,4],[108,6,108,8],[109,0,111,0],[109,1,111,1],[109,2,111,2],[109,3,111,3],[109,4,111,4],[109,5,111,5],[109,6,109,8],[110,6,111,6],[110,7,111,7],[116,2,116,3],[117,2,117,3],[120,2,120,3],[123,0,123,6],[124,0,124,6],[126,0,126,8]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第1页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
[null,null,"办公室",null,null,""]
["1","010402001001","砌块墙","1、砌块品种、规格、强度等级:蒸压加气混凝土砖\n2、墙体类型:200mm厚内墙\n3、砂浆强度等级:M5混合砂浆\n4、预拌砂浆\n5、具体做法以施工图为准","m3","63"]
["2","010402001002","砌块墙","1、砌块品种、规格、强度等级:蒸压加气混凝土砖\n2、墙体类型:100mm厚内墙\n3、砂浆强度等级:M5混合砂浆\n4、预拌砂浆\n5、具体做法以施工图为准","m3","11.74"]
["3","010502002001","构造柱","1、混凝土强度等级:C25商品砼\n2、含模板","m3","2.99"]
["4","011201001001","墙面一般抹灰","1、墙体类型:砌块墙面\n2、面层厚度、砂浆配合比:20mm厚1：3水泥砂浆粉刷\n3、具体做法以施工图为准","m2","883.93"]
["5","011102003001","块料楼地面（有防水层）","1、结合层厚度、砂浆配合比:20mm厚1:3干硬性水泥砂浆，表面撒水泥粉\n2、面层材料品种、规格、颜色:800*800*10mm(CR-01)地砖\n3、嵌缝材料种类:同色水泥擦缝\n4、具体做法以施工图为准","m2","8"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第2页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["6","011102003002","块料楼地面","1、结合层厚度、砂浆配合比:35mm厚1:3干硬性水泥砂浆\n2、面层材料品种、规格、颜色:800*800*10mm(CR-01)地砖，5厚1:1水泥砂浆粘贴层；\n3、嵌缝材料种类:同色水泥擦缝\n4、具体做法以施工图为准","m2","232.86"]
["7","010904002001","楼（地）面涂膜防水","1、防水膜品种:1.5mm聚氨酯防水层\n2、反边高度:300mm\n3、1:3干硬性水泥砂浆结合层找坡,最薄处20厚,i=0.5%(图中注明则按图施工)坡向地漏。","m2","11.4"]
["8","011105006001","金属踢脚线","1、踢脚线高度:30mm高\n2、面层材料品种、规格、颜色:1.2mm厚MT-01成品不锈钢金属踢脚线，卡扣安装\n3、详见施工图及节点图","m","198.46"]
["9","011302001001","吊顶天棚","1、吊顶形式、吊杆规格、高度:造型吊顶，Φ8全丝吊杆，高度综合考虑；\n2、龙骨材料种类、规格、中距:60系轻钢龙骨;\n3、面层材料品种、规格:9.5mm双层石膏板，纸胶带贴缝，钉眼处理；\n4、油漆品种、刷漆遍数:满批腻子二遍，白色乳胶漆两遍；\n5、具体详见施工图及节点大样图","m2","18.31"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第3页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["10","011302001002","吊顶天棚","1、吊顶形式、吊杆规格、高度:平吊顶，Φ8全丝吊杆，高度综合考虑；\n2、龙骨材料种类、规格、中距:60系轻钢龙骨;\n3、面层材料品种、规格:双层9.5mm石膏板，纸胶带贴缝，钉眼处理；\n4、油漆品种、刷漆遍数:满批腻子二遍，白色乳胶漆两遍；\n5、具体详见施工图及节点大样图","m2","19.2"]
["11","011407002001","天棚喷刷涂料","天棚喷刷涂料\n1、基层类型:混凝土面\n2、喷刷涂料部位:天棚面、梁面，管道等\n3、涂料品种、喷刷遍数:白色乳胶漆3遍","m2","253.26"]
["12","011304001001","灯槽（150+250+70mm）","1、基层材料品种、规格：基层板阻燃处理 \n2、面层材料品种、规格：9.5mm纸面石膏板；\n3、油漆品种、刷漆遍数：批腻子两遍，刷乳胶漆两遍；\n4、嵌缝材料种类：板面钉眼封点防锈漆，板缝贴自粘胶带","m","12.42"]
["13","011304002001","送风口、回风口","1、开灯孔、喷淋孔、烟感孔等\n2、具体详见施工图及节点大样图","个","15"]
["14","011304002002","送风口、回风口","1、格式孔、空调风口等\n2、具体详见施工图及节点大样图","个","7"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第4页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["15","011210003001","玻璃隔断","1、边框材料种类、规格:30mm宽MT-01黑色金属边框\n2、品种、规格、颜色:GL-01玻璃（10mm厚钢化玻璃）\n3、含玻璃门及其配套五金.\n4、具体详见施工图及节点大样图","m2","46.2"]
["16","011406001001","抹灰面油漆","1、基层类型:抹灰面\n2、油漆品种、刷漆遍数:批腻子二遍，刷乳胶漆三遍；\n3、具体详见施工图及节点大样图","m2","599.82"]
["17","011204003001","块料墙面","1、墙体类型:抹灰面\n2、安装方式:5mm厚1:2水泥砂浆粘贴层\n3、面层材料品种、规格、颜色:800*300mmCR-02墙砖\n4、缝宽、嵌缝材料种类:同色水泥擦缝\n5、具体详见施工图及节点大样图","m2","9.24"]
["18","010801002001","木质单开门带套","1、门代号及洞口尺寸:M-01  0.9*2.4M\n2、门框、扇材质:WD-01成品木纹门带套，及门套基层\n3、配套五金件\n4、具体详见施工图及节点大样图","樘","3"]
["19","011501009001","茶水柜","1、台柜规格:2500*850*600mm\n2、材料种类、规格:，ST-01白色石材台面+50mm高挡水条；\n3、WD-01成品木纹饰面柜体\n4、五金种类、规格:配套五金件","m","2.5"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第5页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["20","011501010001","成品吊柜","1、台柜规格:2500*750*350mm\n2、材料种类、规格:WD-01成品木纹饰面柜体;\n3、五金种类、规格:配套五金件","m","1"]
[null,null,"分部小计",null,null,""]
[null,null,"客服中心",null,null,""]
["21","010402001003","砌块墙","1、砌块品种、规格、强度等级:蒸压加气混凝土砖\n2、墙体类型:200mm厚以上内墙\n3、砂浆强度等级:M5混合砂浆\n4、预拌砂浆\n5、具体做法以施工图为准","m3","3.26"]
["22","010402001004","砌块墙","1、砌块品种、规格、强度等级:蒸压加气混凝土砖\n2、墙体类型:200mm厚内墙\n3、砂浆强度等级:M5混合砂浆\n4、预拌砂浆\n5、具体做法以施工图为准","m3","0.9"]
["23","010402001005","砌块墙","1、砌块品种、规格、强度等级:蒸压加气混凝土砖\n2、墙体类型:100mm厚内墙\n3、砂浆强度等级:M5混合砂浆\n4、预拌砂浆\n5、具体做法以施工图为准","m3","2.41"]
["24","010502002002","构造柱","1、混凝土强度等级:C25商品砼\n2、含模板","m3","0.14"]
["25","011201001002","墙面一般抹灰","1、墙体类型:砌块墙面\n2、面层厚度、砂浆配合比:20mm厚1：3水泥砂浆粉刷\n3、具体做法以施工图为准","m2","79.82"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第6页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["26","011102003003","块料楼地面","1、结合层厚度、砂浆配合比:35mm厚1:3干硬性水泥砂浆\n2、面层材料品种、规格、颜色:800*800*10mm(CR-01)地砖，5厚1:1水泥砂浆粘贴层；\n3、嵌缝材料种类:同色水泥擦缝\n4、具体做法以施工图为准","m2","41.82"]
["27","011101003001","细石混凝土楼地面","1、找平层厚度、砂浆配合比:C20细石砼找平\n2、面层厚度、混凝土强度等级:50mm厚","m2","0.67"]
["28","011105006002","金属踢脚线","1、踢脚线高度:30mm高\n2、面层材料品种、规格、颜色:1.2mm厚MT-01成品不锈钢金属踢脚线，成品卡扣\n3、详见施工图及节点图","m","51.61"]
["29","011302001003","吊顶天棚","1、吊顶形式、吊杆规格、高度:造型吊顶，Φ8全丝吊杆，高度综合考虑；\n2、龙骨材料种类、规格、中距:60系轻钢龙骨;\n3、面层材料品种、规格:9.5mm双层石膏板，纸胶带贴缝，钉眼处理；局部WD-01木纹饰面\n4、油漆品种、刷漆遍数:满批腻子二遍，白色乳胶漆两遍；\n5、具体详见施工图及节点大样图","m2","41.66"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第7页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["30","011304001002","灯槽（150+250+70mm）","1、基层材料品种、规格：基层板阻燃处理 \n2、面层材料品种、规格：9.5mm纸面石膏板；\n3、油漆品种、刷漆遍数：批腻子两遍，刷乳胶漆两遍；\n4、嵌缝材料种类：板面钉眼封点防锈漆，板缝贴自粘胶带","m","30.4"]
["31","011304002003","送风口、回风口","1、开灯孔、喷淋孔、烟感孔等\n2、具体详见施工图及节点大样图","个","14"]
["32","011304002004","送风口、回风口","1、格式孔、空调风口等\n2、具体详见施工图及节点大样图","个","7"]
["33","011406001002","抹灰面油漆","1、基层类型:抹灰面\n2、油漆品种、刷漆遍数:批腻子二遍，刷乳胶漆三遍；\n3、具体详见施工图及节点大样图","m2","27.33"]
["34","011408002001","织锦缎裱糊","1、墙面基层刷清油、批腻子；\n2、WP-01墙布\n3、具体详见施工图及节点大样图","m2","25.71"]
["35","011408002002","织锦缎裱糊","1、墙面基层刷清油、批腻子；\n2、WP-02墙布\n3、具体详见施工图及节点大样图","m2","10.35"]
["36","011207001001","墙面装饰板","1、龙骨材料种类、规格、中距:附墙卡式龙骨\n2、基层材料种类、规格:9mm细木工板基层，防火处理；\n3、面层材料品种、规格、颜色:WD-01木纹饰面（4mm厚）+MT-01金属饰面（1.2mm厚）\n4、具体详见施工图及节点大样图","m2","138.6"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第8页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["37","011207001002","墙面装饰板","1、龙骨材料种类、规格、中距:镀锌钢骨架；\n2、基层材料种类、规格:双层9mm细木工板基层，防火处理；\n3、面层材料品种、规格、颜色:WD-01同色木纹格栅；\n4、具体详见施工图及节点大样图","m2","7.36"]
["38","010801002002","木质单开门带套","1、门代号及洞口尺寸:M-01  0.8*2M\n2、门框、扇材质:WD-01成品木纹门带套，及门套基层\n3、配套五金件\n4、具体详见施工图及节点大样图","樘","1"]
["39","010801001001","木质暗门","1、30*30*3镀锌方管\n2、12mm阻燃板基层\n3、面层另计\n4、成品门吸,顶部固定，成品暗门铰链、天地轴承等配件，含安装等\n5、尺寸1.05*2.6m\n6、具体做法以施工图为准","m2","2.73"]
["40","010801001002","消防栓暗门","1、30*30*3镀锌方管\n2、12mm阻燃板基层\n3、面层另计\n4、成品门吸,顶部固定，成品暗门铰链、天地轴承等配件，含安装等\n5、尺寸0.7*1.8m\n6、具体做法以施工图为准","m2","2.52"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第9页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["41","011501009002","茶水柜-地柜及吊柜","1、台柜规格:1520*850*600mm\n2、材料种类、规格:，ST-01白色石材台面；\n3、WD-01成品木纹饰面柜体+MT-01金属吊柜+GL-01超白玻璃\n4、五金种类、规格:配套五金件","m","1.58"]
["42","011501008001","展示柜","1、台柜规格:600*350*1600mm\n2、材料种类、规格:WD-01木纹饰面+MT-01金属\n3、暗藏灯带","m2","0.96"]
["43","011501020001","服务台","1、台柜规格:2800*1050*600mm\n2、材料种类、规格:镀锌钢骨架，ST-01白色石材+MT-01金属+PT-02同色烤色漆门板；\n3、五金种类、规格:配套五金件\n4、具体详见施工图及节点大样图","m","2.8"]
["44","010810001001","窗帘","1、成品遮光帘及配套轨道\n2、清单量为窗帘轨长度","m","1.6"]
[null,null,"分部小计",null,null,""]
[null,null,"分部分项工程清单合计",null,null,""]
["1","011701003001","里脚手架","1、装饰所需所有脚手架\n2、投标人根据现场实际情况自行考虑，结算时不做调整","项","1"]
["2","011703001001","垂直运输","1、垂直运输费\n2、投标人自行勘察现场，结算不再调整","项","1"]
[null,null,"单价措施项目清单合计",null,null,""]
[]
[]
["本页小计"]
["合    计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"2.2 表-11 总价措施项目清单与计价表","index":2,"n_rows":71,"n_cols":9,"rows_kept":71,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[20,0,20,8],[21,0,21,8],[22,0,22,4],[22,6,22,8],[26,0,26,8],[27,0,27,8],[28,0,28,4],[28,6,28,8],[32,0,32,8],[33,0,33,8],[34,0,34,4],[34,6,34,8],[68,0,68,4],[70,0,70,8]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第1页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["1","011707001001","现场安全文明施工",null,0]
["1.1",null,"基本费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":1.7,"d":"1.700"}]
["1.2",null,"标化增加费","分部分项工程费+单价措施项目费-除税工程设备费",0]
["1.3",null,"扬尘污染防治增加费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":0.22,"d":"0.220"}]
["2","011707010001","工程按质论价","分部分项工程费+单价措施项目费-除税工程设备费",0]
["3","011707002001","夜间施工",null,0]
["4","011707004001","二次搬运",null,0]
["5","011707005001","冬雨季施工",null,0]
["6","011707006001","地上、地下设施、建筑物的临时保护设施",null,0]
["7","011707007001","已完工程及设备保护费",null,0]
["8","011707008001","临时设施费",null,0]
["9","011707009001","赶工措施费",null,0]
["10","01B001","特殊条件下施工增加费",null,0]
["11","011707003001","非夜间施工照明",null,0]
["12","011707011001","住宅工程分户验收",null,0]
["13","011707012001","建筑工人实名制费用",null,0]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第2页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["14","011707015001","智慧工地费用",null,0,{"$nulls":3},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第3页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["15","011707016001","新冠疫情常态化防控",null,0,{"$nulls":3},"1. 防控物资费：口罩、酒精、测温枪、红外体温探测仪、防护服、护目镜、手套、消毒喷壶、电动喷雾器、水银温度计、防疫标语、宣传牌、废弃防疫物资专用回收箱（垃圾桶）等。2.防控人员费：因疫情防控增加的专职消杀人员及现场管理人员的工资。3.防控增加的临时设施费：主要为现场设置的隔离棚、隔离围栏、隔离用集装箱、扩建的工人宿舍等。4."]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",{"$nulls":4},"标段：","第4页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
[{"$nulls":4},0,{"$nulls":3},"重点人群常态化核酸自费检测费用、交通和时间占用。"]
{"$rows_empty":31}
["合   计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"2.3 表-12 其他项目清单与计价汇总表","index":3,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,1],[44,0,44,4]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",null,null,"标段：","第1页 共1页"]
["序号","项目名称","金额(元)","结算金额(元)","备注"]
["1","暂列金额",{"v":50000,"d":"50000.00"}]
["2","暂估价",0]
["2.1","材料暂估价",0]
["2.2","专业工程暂估价",0]
["3","计日工",0]
["4","总承包服务费",0]
{"$rows_empty":33}
["合  计",null,{"v":50000,"d":"50000.00"}]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"2.4 表-12-1 暂列金额明细表","index":4,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,2],[44,0,44,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
["1","暂列金",null,{"v":50000,"d":"50000.00"}]
{"$rows_empty":38}
["合  计",null,null,{"v":50000,"d":"50000.00"}]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"2.5 表-13 规费、税金项目计价表","index":5,"n_rows":41,"n_cols":6,"rows_kept":41,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[38,0,38,4],[40,0,40,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-装饰",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计算基础","计算基数(元)","计算费率(％)","金额(元)"]
["1","规费",null,null,0]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":2.4,"d":"2.400"}]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":0.42,"d":"0.420"}]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,0]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",null,{"v":9,"d":"9.000"}]
{"$rows_empty":30}
["合  计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"3.1 表-08 分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":173,"n_cols":9,"rows_kept":173,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[5,2,5,3],[16,0,16,6],[18,0,18,8],[19,0,19,8],[20,0,20,4],[20,6,20,8],[21,0,23,0],[21,1,23,1],[21,2,23,2],[21,3,23,3],[21,4,23,4],[21,5,23,5],[21,6,21,8],[22,6,23,6],[22,7,23,7],[38,0,38,6],[40,0,40,8],[41,0,41,8],[42,0,42,4],[42,6,42,8],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,45,5],[43,6,43,8],[44,6,45,6],[44,7,45,7],[52,2,52,3],[53,2,53,3],[57,0,57,6],[59,0,59,8],[60,0,60,8],[61,0,61,4],[61,6,61,8],[62,0,64,0],[62,1,64,1],[62,2,64,2],[62,3,64,3],[62,4,64,4],[62,5,64,5],[62,6,62,8],[63,6,64,6],[63,7,64,7],[68,2,68,3],[69,2,69,3],[75,2,75,3],[76,2,76,3],[79,0,79,6],[81,0,81,8],[82,0,82,8],[83,0,83,4],[83,6,83,8],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,86,5],[84,6,84,8],[85,6,86,6],[85,7,86,7],[89,2,89,3],[90,2,90,3],[98,0,98,6],[100,0,100,8],[101,0,101,8],[102,0,102,4],[102,6,102,8],[103,0,105,0],[103,1,105,1],[103,2,105,2],[103,3,105,3],[103,4,105,4],[103,5,105,5],[103,6,103,8],[104,6,105,6],[104,7,105,7],[106,2,106,3],[107,2,107,3],[110,2,110,3],[111,2,111,3],[114,0,114,6],[116,0,116,8],[117,0,117,8],[118,0,118,4],[118,6,118,8],[119,0,121,0],[119,1,121,1],[119,2,121,2],[119,3,121,3],[119,4,121,4],[119,5,121,5],[119,6,119,8],[120,6,121,6],[120,7,121,7],[127,0,127,6],[129,0,129,8],[130,0,130,8],[131,0,131,4],[131,6,131,8],[132,0,134,0],[132,1,134,1],[132,2,134,2],[132,3,134,3],[132,4,134,4],[132,5,134,5],[132,6,132,8],[133,6,134,6],[133,7,134,7],[146,0,146,6],[148,0,148,8],[149,0,149,8],[150,0,150,4],[150,6,150,8],[151,0,153,0],[151,1,153,1],[151,2,153,2],[151,3,153,3],[151,4,153,4],[151,5,153,5],[151,6,151,8],[152,6,153,6],[152,7,153,7],[161,2,161,3],[162,2,162,3],[164,2,164,3],[169,0,169,6],[170,0,170,6],[172,0,172,8]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第1页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
[null,null,"电气",null,null,""]
["1","030404017001","配电箱","1、名称:AL1\n2、规格:详系统图\n3、安装方式:嵌墙安装","台","1"]
["2","030404017002","配电箱","1、名称:AL2\n2、规格:详系统图\n3、安装方式:嵌墙安装","台","1"]
["3","030404017003","配电箱","1、名称:AL3\n2、规格:详系统图\n3、安装方式:嵌墙安装","台","1"]
["4","030404017004","配电箱","1、名称:原土建配电箱8-2AL1改造\n2、规格:详系统图\n3、安装方式:嵌墙安装","台","1"]
["5","030411001001","配管","1、名称:紧定式镀锌电线管\n2、规格:JDG20\n3、配置形式:砖、混凝土结构暗配","m","160.61"]
["6","030411001002","配管","1、名称:紧定式镀锌电线管\n2、规格:JDG20\n3、配置形式:吊棚内暗敷设","m","175.15"]
["7","030411001003","配管","1、名称:紧定式镀锌电线管\n2、规格:JDG25\n3、配置形式:砖、混凝土结构暗配","m","77.28"]
["8","030411001004","配管","1、名称:镀锌钢管\n2、规格:RC32\n3、配置形式:吊棚内暗敷设","m","73.97"]
["9","030411006001","接线盒","1、名称:接线盒\n2、材质:铁质\n3、规格:86型\n4、安装形式:暗装","个","99"]
["10","030411006002","接线盒","1、名称:开关盒\n2、材质:铁质\n3、规格:86型\n4、安装形式:暗装","个","43"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第2页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["11","030408001001","电力电缆","1、名称:铜芯电力电缆\n2、规格:WDZ-YJVY-5*6\n3、敷设方式、部位:管道、桥架敷设","m","90.89"]
["12","030408006001","电力电缆头","1、名称:铜芯电缆头\n2、规格:5*6\n3、安装部位:户内","个","6"]
["13","030411004001","配线","1、配线形式:管内穿线\n2、型号:WDZ-BYJ-2.5","m","976.93"]
["14","030411004002","配线","1、配线形式:管内穿线\n2、型号:WDZ-BYJ-4","m","242.34"]
["15","030404034001","照明开关","1、名称:单联单控","个","5"]
["16","030404034002","照明开关","1、名称:双联单控","个","2"]
["17","030404034003","照明开关","1、名称:三联单控","个","3"]
["18","030404035001","插座","1、名称:三眼插座\n2、安装方式:暗装","个","1"]
["19","030404035002","插座","1、名称:二、三眼插座\n2、安装方式:暗装","个","21"]
["20","030404035003","插座","1、名称:二、三眼插座（带开关）\n2、安装方式:暗装","个","2"]
["21","030404035004","插座","1、名称:地面插座\n2、安装方式:暗装","个","2"]
["22","030412004001","装饰灯","1、名称:嵌入式射灯（入射角可调）\n2、规格:LED：8W 光通量600lm\n3、安装形式:吊顶安装，含金属软管敷设","套","2"]
["23","030412004002","装饰灯","1、名称:明装射灯（入射角可调）\n2、规格:LED：8W 光通量600lm\n3、安装形式:含金属软管敷设","套","3"]
["24","030412004003","装饰灯","1、名称:筒灯\n2、规格:LED：12W 光通量1140lm\n3、安装形式:吊顶安装，含金属软管敷设","套","11"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第3页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["25","030412004004","装饰灯","1、名称:明装筒灯\n2、规格:LED：12W 光通量1140lm\n3、安装形式:含金属软管敷设","套","22"]
["26","030412005001","荧光灯","1、名称:条形灯 L=3000\n2、规格:150宽定制灯具，LED：23W/m\n3、安装形式:吊装、含金属软管敷设","套","8"]
["27","030412005002","荧光灯","1、名称:条形灯 L=4000\n2、规格:150宽定制灯具，LED：23W/m\n3、安装形式:吊装、含金属软管敷设","套","4"]
["28","030412004005","装饰灯","1、名称:装饰吊灯\n2、规格:LED：36W 光通量2880lm\n3、安装形式:吊装","套","1"]
["29","030412004006","装饰灯","1、名称:LED灯带\n2、型号:L1\n3、规格:LED：10W/m，光通量：1100lm/m","m","12.4"]
["30","031101001001","开关电源设备","1、种类:LED灯带变压器\n2、规格:功率适配灯带","台","3"]
[null,null,"分部小计",null,null,""]
[null,null,"应急照明",null,null,""]
["31","030412004007","装饰灯","1、名称:安全出口灯\n2、安装形式:移位，含增加的软管和线，材料换新","套","3"]
["32","030412004008","装饰灯","1、名称:应急筒灯\n2、安装形式:移位，含增加的软管和线，材料换新","套","9"]
["33","030412004009","装饰灯","1、名称:疏散指示灯（吊装）\n2、安装形式:移位，含增加的软管和线，材料换新","套","3"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第4页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["34","030412004010","装饰灯","1、名称:疏散指示灯（壁装）\n2、安装形式:移位，含增加的软管和线，材料换新","套","4"]
["35","030413002001","凿（压）槽","1、名称:墙面开槽\n2、规格:d20以内\n3、填充（恢复）方式:恢复至原墙体标准","m","129.25"]
["36","030413002002","凿（压）槽","1、名称:墙面开槽\n2、规格:d32以内\n3、填充（恢复）方式:恢复至原墙体标准","m","33.9"]
[null,null,"分部小计",null,null,""]
[null,null,"智能化",null,null,""]
["37","030411001005","配管","1、名称:PVC阻燃塑料管\n2、规格:PC20\n3、配置形式:砖、混凝土结构暗配","m","98.21"]
["38","030411001006","配管","1、名称:PVC阻燃塑料管\n2、规格:PC25\n3、配置形式:砖、混凝土结构暗配","m","166.78"]
["39","030411006003","接线盒","1、名称:接线盒\n2、材质:塑料\n3、规格:86型","个","43"]
["40","030411005001","接线箱","1、名称:弱电箱\n2、规格:满足智能化设计要求\n3、安装形式:暗装","个","3"]
["41","030502005001","双绞线缆","1、名称:超五类线\n2、敷设方式:管、槽内敷设","m","284.65"]
[null,null,"分部小计",null,null,""]
[null,null,"消防电",null,null,""]
["42","030904001001","点型探测器","1、名称:声光报警器\n2、移位，含管线，材料换新","个","2"]
["43","030904001002","点型探测器","1、名称:广播\n2、移位，含管线，材料换新","个","3"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第5页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["44","030904001003","点型探测器","1、名称:手动报警按钮\n2、移位，含管线，材料换新","个","2"]
["45","030904001004","点型探测器","1、名称:烟感探测器\n2、移位，含管线，材料换新","个","13"]
[null,null,"分部小计",null,null,""]
[null,null,"给排水",null,null,""]
["46","031001006001","塑料管","1、安装部位:室内\n2、介质:给水\n3、材质、规格:PP-R De20\n4、连接形式:热熔连接\n5、压力试验及吹、洗设计要求:按图纸设计及规范要求","m","26.28"]
["47","031001006002","塑料管","1、安装部位:室内\n2、介质:排水\n3、材质、规格:UPVC De75\n4、连接形式:粘接\n5、含与主立管碰接","m","16"]
["48","031001006003","塑料管","1、安装部位:室内\n2、介质:排水\n3、材质、规格:UPVC De50\n4、连接形式:粘接","m","1.5"]
["49","030413002003","凿（压）槽","1、名称:墙面开槽\n2、规格:d20以内\n3、填充（恢复）方式:恢复至原墙体标准","m","2.55"]
["50","030413003001","打洞（孔）","1、名称:混凝土楼板开孔\n2、规格:DN80","个","2"]
["51","031003013001","水表","1、型号、规格:DN15\n2、连接形式:螺纹连接\n3、附件配置:含阀门","组","1"]
["52","031004004001","洗涤盆","1、材质:陶瓷\n2、组装形式:单冷水嘴\n3、附件名称、数量:含排水、软管等附件","组","1"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第6页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
[null,null,"分部小计",null,null,""]
[null,null,"消防水",null,null,""]
["53","030901001001","水喷淋钢管","1、安装部位:室内\n2、材质:内外热浸镀锌钢管\n3、规格:DN25\n4、连接形式:螺纹连接\n5、压力试验及冲洗设计要求:按图纸及规范要求\n6、包含原管道接头拆换","m","39.57"]
["54","030901003001","水喷淋（雾）喷头","1、安装部位:室内\n2、材质、型号、规格:吊顶型喷头 K=115 动作温度t=68°C DN15\n3、连接形式:有吊顶","个","51"]
[null,null,"分部小计",null,null,""]
[null,null,"暖通",null,null,""]
["55","030701004001","风机盘管","1、名称:多联机室内机\n2、规格:风量:420m3/h 制冷量:2.8KW 制热量:3.2KW  功率53W 噪声:30dB(A) \n3、减振器、支架形式、材质:按图纸及规范要求设置","台","1"]
["56","030701004002","风机盘管","1、名称:多联机室内机\n2、规格:风量:540m3/h 制冷量:4.5KW 制热量:5KW  功率63W 噪声:32dB(A)\n3、减振器、支架形式、材质:按图纸及规范要求设置","台","6"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第7页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["57","030701004003","风机盘管","1、名称:多联机室内机\n2、规格:风量:720m3/h 制冷量:5.6KW 制热量:6.3KW  功率:74W 噪声:33dB(A)\n3、减振器、支架形式、材质:按图纸及规范要求设置","台","2"]
["58","030701004004","风机盘管","1、名称:多联机室内机\n2、规格:风量:690m3/h 制冷量:4.5KW 制热量:5.0KW  功率:127W 噪声:38dB(A)\n3、减振器、支架形式、材质:按图纸及规范要求设置","台","1"]
["59","030701003001","空调器","1、名称:多联机室外机\n2、规格:制冷量：61.5kW 制热：69kw 功率：18.7KW 运行噪音：≤66dB(A)\n3、安装形式:落地式","台","1"]
["60","031001004001","铜管","1、介质:冷媒\n2、由品牌商二次设计\n3、本计量单位每米内综合了气管、液管、分歧器、保温、支架、管内填充冷媒、室内外机的控制电缆、及温控器控制电缆等。\n4、铜管管径综合考虑，不含冷凝水管，另详冷凝水管清单。","m","82.7"]
["61","030404022001","控制器","1、名称:VRV室内机线控器","台","10"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第8页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["62","030702001001","碳钢通风管道","1、材质:热镀锌板\n2、形状:矩形\n3、规格:周长：800mm以下\n4、板材厚度:0.5mm\n5、管件、法兰等附件及支架设计要求 :型钢法兰\n6、接口形式:咬口","m2","14.71"]
["63","030702001002","碳钢通风管道","1、材质:热镀锌板\n2、形状:矩形\n3、规格:周长：2000mm以下\n4、板材厚度:0.5mm\n5、管件、法兰等附件及支架设计要求 :型钢法兰\n6、接口形式:咬口","m2","16.54"]
["64","030702001003","碳钢通风管道","1、材质:热镀锌板\n2、形状:矩形\n3、规格:周长：2000mm以下\n4、板材厚度:0.6mm\n5、管件、法兰等附件及支架设计要求 :型钢法兰\n6、接口形式:咬口","m2","3.12"]
["65","030702008001","柔性软风管","1、名称:柔性保温软风管","m2","1.8"]
["66","030703001001","碳钢阀门","1、名称:防火阀 70℃\n2、规格:250*120","个","2"]
["67","030703001002","碳钢阀门","1、名称:防火阀 70℃\n2、规格:500*200","个","1"]
["68","030703001003","碳钢阀门","1、名称:对开多页调节阀\n2、规格:250*120","个","3"]
["69","030703001004","碳钢阀门","1、名称:对开多页调节阀\n2、规格:500*200","个","1"]
["70","030703011001","铝及铝合金风口、散流器","1、名称:铝合金百叶风口\n2、规格:1250*200","个","1"]
["71","030703011002","铝及铝合金风口、散流器","1、名称:方形散流器\n2、规格:240*240","个","5"]
["72","030703011003","铝及铝合金风口、散流器","1、名称:门铰式回风口\n2、规格:600*300","个","1"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第9页 共9页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["73","031001006004","塑料管","1、安装部位:室内\n2、介质:冷凝水\n3、材质、规格:PVC-U De25\n4、连接形式:粘接\n5、压力试验及吹、洗设计要求:按图纸设计及规范要求","m","24.46"]
["74","031001006005","塑料管","1、安装部位:室内\n2、介质:冷凝水\n3、材质、规格:UPVC De32\n4、连接形式:粘结\n5、压力试验及吹、洗设计要求:按图纸及规范要求","m","25.09"]
["75","031001006006","塑料管","1、安装部位:室外立管\n2、介质:冷凝水\n3、材质、规格:UPVC De40\n4、连接形式:粘结\n5、压力试验及吹、洗设计要求:按图纸及规范要求","m","21.86"]
["76","031208002001","管道绝热","1、绝热材料品种:冷凝水橡塑保温管（B1级）\n2、绝热厚度:19mm\n3、管道外径:≤57mm","m3","0.2"]
["77","031201003001","金属结构刷油","1、除锈级别:轻锈\n2、油漆品种:防锈漆两道","kg","130.61"]
["78","011615001001","开孔（打洞）","1、部位:墙体及楼板开孔","项","1"]
["79","030704001001","通风工程检测、调试",null,"项","1"]
[null,null,"分部小计",null,null,""]
[null,null,"分部分项工程清单合计",null,null,""]
["1","031301017001","脚手架搭拆",null,"项","1"]
[null,null,"单价措施项目清单合计",null,null,""]
[]
[]
[]
[]
["本页小计"]
["合    计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"3.2 表-11 总价措施项目清单与计价表","index":7,"n_rows":71,"n_cols":9,"rows_kept":71,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[20,0,20,8],[21,0,21,8],[22,0,22,4],[22,6,22,8],[26,0,26,8],[27,0,27,8],[28,0,28,4],[28,6,28,8],[32,0,32,8],[33,0,33,8],[34,0,34,4],[34,6,34,8],[68,0,68,4],[70,0,70,8]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第1页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["1","031302001001","现场安全文明施工",null,0]
["1.1",null,"基本费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":1.5,"d":"1.500"}]
["1.2",null,"标化增加费","分部分项工程费+单价措施项目费-除税工程设备费",0]
["1.3",null,"扬尘污染防治增加费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":0.21,"d":"0.210"}]
["2","031302010001","工程按质论价","分部分项工程费+单价措施项目费-除税工程设备费",0]
["3","031302002001","夜间施工",null,0]
["4","031302004001","二次搬运",null,0]
["5","031302005001","冬雨季施工",null,0]
["6","03B001","地上、地下设施、建筑物的临时保护设施",null,0]
["7","031302006001","已完工程及设备保护费",null,0]
["8","031302008001","临时设施费",null,0]
["9","031302009001","赶工措施费",null,0]
["10","03B002","特殊条件下施工增加费",null,0]
["11","031302003001","非夜间施工照明",null,0]
["12","031302011001","住宅工程分户验收",null,0]
["13","031302012001","建筑工人实名制费用",null,0]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第2页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["14","031302015001","智慧工地费用",null,0,{"$nulls":3},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第3页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["15","031302016001","新冠疫情常态化防控",null,0,{"$nulls":3},"1. 防控物资费：口罩、酒精、测温枪、红外体温探测仪、防护服、护目镜、手套、消毒喷壶、电动喷雾器、水银温度计、防疫标语、宣传牌、废弃防疫物资专用回收箱（垃圾桶）等。2.防控人员费：因疫情防控增加的专职消杀人员及现场管理人员的工资。3.防控增加的临时设施费：主要为现场设置的隔离棚、隔离围栏、隔离用集装箱、扩建的工人宿舍等。4."]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",{"$nulls":4},"标段：","第4页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
[{"$nulls":4},0,{"$nulls":3},"重点人群常态化核酸自费检测费用、交通和时间占用。"]
{"$rows_empty":31}
["合   计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"3.3 表-12 其他项目清单与计价汇总表","index":8,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,1],[44,0,44,4]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","金额(元)","结算金额(元)","备注"]
["1","暂列金额",0]
["2","暂估价",0]
["2.1","材料暂估价",0]
["2.2","专业工程暂估价",0]
["3","计日工",0]
["4","总承包服务费",0]
{"$rows_empty":33}
["合  计",null,0]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"3.4 表-12-1 暂列金额明细表","index":9,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,2],[44,0,44,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
{"$rows_empty":39}
["合  计",null,null,0]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"3.5 表-13 规费、税金项目计价表","index":10,"n_rows":41,"n_cols":6,"rows_kept":41,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[38,0,38,4],[40,0,40,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-办公室安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计算基础","计算基数(元)","计算费率(％)","金额(元)"]
["1","规费",null,null,0]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":2.4,"d":"2.400"}]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":0.42,"d":"0.420"}]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,0]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",null,{"v":9,"d":"9.000"}]
{"$rows_empty":30}
["合  计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"4.1 表-08 分部分项工程和单价措施项目清单与计价表","index":11,"n_rows":117,"n_cols":9,"rows_kept":117,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[5,2,5,3],[19,0,19,6],[21,0,21,8],[22,0,22,8],[23,0,23,4],[23,6,23,8],[24,0,26,0],[24,1,26,1],[24,2,26,2],[24,3,26,3],[24,4,26,4],[24,5,26,5],[24,6,24,8],[25,6,26,6],[25,7,26,7],[35,2,35,3],[36,2,36,3],[38,0,38,6],[40,0,40,8],[41,0,41,8],[42,0,42,4],[42,6,42,8],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,45,5],[43,6,43,8],[44,6,45,6],[44,7,45,7],[50,2,50,3],[51,2,51,3],[54,2,54,3],[55,2,55,3],[58,2,58,3],[59,2,59,3],[60,0,60,6],[62,0,62,8],[63,0,63,8],[64,0,64,4],[64,6,64,8],[65,0,67,0],[65,1,67,1],[65,2,67,2],[65,3,67,3],[65,4,67,4],[65,5,67,5],[65,6,65,8],[66,6,67,6],[66,7,67,7],[74,0,74,6],[76,0,76,8],[77,0,77,8],[78,0,78,4],[78,6,78,8],[79,0,81,0],[79,1,81,1],[79,2,81,2],[79,3,81,3],[79,4,81,4],[79,5,81,5],[79,6,79,8],[80,6,81,6],[80,7,81,7],[85,2,85,3],[86,2,86,3],[88,2,88,3],[113,0,113,6],[114,0,114,6],[116,0,116,8]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第1页 共5页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
[null,null,"电气",null,null,""]
["1","030404017001","配电箱","1、名称:AL1\n2、规格:详系统图\n3、安装方式:嵌墙安装","台","1"]
["2","030411001001","配管","1、名称:紧定式镀锌电线管\n2、规格:JDG20\n3、配置形式:砖、混凝土结构暗配","m","57.09"]
["3","030411001002","配管","1、名称:紧定式镀锌电线管\n2、规格:JDG20\n3、配置形式:吊棚内暗敷设","m","64.86"]
["4","030411001003","配管","1、名称:镀锌钢管\n2、规格:RC32\n3、配置形式:吊棚内暗敷设","m","15.25"]
["5","030411006001","接线盒","1、名称:接线盒\n2、材质:铁质\n3、规格:86型\n4、安装形式:暗装","个","25"]
["6","030411006002","接线盒","1、名称:开关盒\n2、材质:铁质\n3、规格:86型\n4、安装形式:暗装","个","20"]
["7","030408001001","电力电缆","1、名称:铜芯电力电缆\n2、规格:WDZ-YJVY-5*6\n3、敷设方式、部位:管道、桥架敷设","m","17.89"]
["8","030408006001","电力电缆头","1、名称:铜芯电缆头\n2、规格:5*6\n3、安装部位:户内","个","2"]
["9","030411004001","配线","1、配线形式:管内穿线\n2、型号:WDZ-BYJ-2.5","m","354.96"]
["10","030404034001","照明开关","1、名称:单联单控","个","1"]
["11","030404034002","照明开关","1、名称:双联单控","个","1"]
["12","030404034003","照明开关","1、名称:三联单控","个","2"]
["13","030404035001","插座","1、名称:二、三眼插座\n2、安装方式:暗装","个","11"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第2页 共5页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["14","030404035002","插座","1、名称:二、三眼插座+USB\n2、安装方式:暗装","个","2"]
["15","030412004001","装饰灯","1、名称:嵌入式射灯（入射角可调）\n2、规格:LED：8W 光通量600lm\n3、安装形式:吊顶安装，含金属软管敷设","套","8"]
["16","030412004002","装饰灯","1、名称:筒灯\n2、规格:LED：12W 光通量1140lm\n3、安装形式:吊顶安装，含金属软管敷设","套","6"]
["17","030412004003","装饰灯","1、名称:筒灯\n2、规格:LED：2*15W 光通量2*1050lm\n3、安装形式:吊顶安装，含金属软管敷设","套","7"]
["18","030412004004","装饰灯","1、名称:装饰吊灯\n2、规格:LED：36W 光通量2880lm\n3、安装形式:吊装","套","1"]
["19","030412004005","装饰灯","1、名称:LED灯带\n2、型号:L1\n3、规格:LED：10W/m，光通量：1100lm/m","m","30"]
["20","030412004006","装饰灯","1、名称:LED灯带\n2、型号:L2\n3、规格:LED：10W/m，光通量：1100lm/m","m","2.32"]
["21","031101001001","开关电源设备","1、种类:LED灯带变压器\n2、规格:功率适配灯带","台","4"]
[null,null,"分部小计",null,null,""]
[null,null,"智能化",null,null,""]
["22","030411001004","配管","1、名称:PVC阻燃塑料管\n2、规格:PC20\n3、配置形式:砖、混凝土结构暗配","m","7.58"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第3页 共5页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["23","030411001005","配管","1、名称:PVC阻燃塑料管\n2、规格:PC25\n3、配置形式:砖、混凝土结构暗配","m","28.85"]
["24","030411006003","接线盒","1、名称:接线盒\n2、材质:塑料\n3、规格:86型","个","2"]
["25","030411005001","接线箱","1、名称:弱电箱\n2、规格:满足智能化设计要求\n3、安装形式:暗装","个","1"]
["26","030502005001","双绞线缆","1、名称:超五类线\n2、敷设方式:管、槽内敷设","m","16.66"]
[null,null,"分部小计",null,null,""]
[null,null,"消防电",null,null,""]
["27","030904001001","点型探测器","1、名称:广播\n2、移位，含管线，材料换新","个","1"]
["28","030904001002","点型探测器","1、名称:烟感探测器\n2、移位，含管线，材料换新","个","4"]
[null,null,"分部小计",null,null,""]
[null,null,"消防水",null,null,""]
["29","030901001001","水喷淋钢管","1、安装部位:室内\n2、材质:内外热浸镀锌钢管\n3、规格:DN25\n4、连接形式:螺纹连接\n5、压力试验及冲洗设计要求:按图纸及规范要求\n6、包含原管道接头拆换","m","11.57"]
["30","030901003001","水喷淋（雾）喷头","1、安装部位:室内\n2、材质、型号、规格:吊顶型喷头 K=115 动作温度t=68°C DN15\n3、连接形式:有吊顶","个","9"]
[null,null,"分部小计",null,null,""]
[null,null,"暖通",null,null,""]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第4页 共5页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["31","030701004001","风机盘管","1、名称:两面出风嵌入式空调室内机\n2、规格:风量:420m3/h 制冷量:2.8KW 制热量:3.0KW  功率77W 噪声:32dB(A)\n3、减振器、支架形式、材质:按图纸及规范要求设置","台","3"]
["32","030701003001","空调器","1、名称:多联机室外机\n2、规格:制冷量：22.4kW 制热：25kw 功率：5.35KW 运行噪音：≤60dB(A)\n3、安装形式:落地式","台","1"]
["33","031001004001","铜管","1、介质:冷媒\n2、由品牌商二次设计\n3、本计量单位每米内综合了气管、液管、分歧器、保温、支架、管内填充冷媒、室内外机的控制电缆、及温控器控制电缆等。\n4、铜管管径综合考虑，不含冷凝水管，另详冷凝水管清单。","m","26.9"]
["34","030404022001","控制器","1、名称:VRV室内机线控器","台","3"]
["35","031001006001","塑料管","1、安装部位:室内\n2、介质:冷凝水\n3、材质、规格:PVC-U De25\n4、连接形式:粘接\n5、压力试验及吹、洗设计要求:按图纸设计及规范要求","m","9.23"]
["36","031001006002","塑料管","1、安装部位:室内\n2、介质:冷凝水\n3、材质、规格:UPVC De32\n4、连接形式:粘结\n5、压力试验及吹、洗设计要求:按图纸及规范要求","m","7.47"]
["本页小计"]
[]
["【清单大师计价软件江苏版V9.45】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第5页 共5页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["37","031208002001","管道绝热","1、绝热材料品种:冷凝水橡塑保温管（B1级）\n2、绝热厚度:19mm\n3、管道外径:≤57mm","m3","0.05"]
["38","011615001001","开孔（打洞）","1、部位:墙体及楼板开孔","项","1"]
["39","030704001001","通风工程检测、调试",null,"项","1"]
[null,null,"分部小计",null,null,""]
[null,null,"分部分项工程清单合计",null,null,""]
["1","031301017001","脚手架搭拆",null,"项","1"]
[null,null,"单价措施项目清单合计",null,null,""]
{"$rows_empty":24}
["本页小计"]
["合    计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"4.2 表-11 总价措施项目清单与计价表","index":12,"n_rows":70,"n_cols":9,"rows_kept":70,"merged":[[0,0,0,8],[1,0,1,4],[1,6,1,8],[20,0,20,8],[21,0,21,8],[22,0,22,4],[22,6,22,8],[26,0,26,8],[27,0,27,8],[28,0,28,4],[28,6,28,8],[32,0,32,8],[33,0,33,8],[34,0,34,4],[34,6,34,8],[67,0,67,4],[69,0,69,8]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第1页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["1","031302001001","现场安全文明施工",null,0]
["1.1",null,"基本费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":1.5,"d":"1.500"}]
["1.2",null,"标化增加费","分部分项工程费+单价措施项目费-除税工程设备费",0]
["1.3",null,"扬尘污染防治增加费","分部分项工程费+单价措施项目费-除税工程设备费",{"v":0.21,"d":"0.210"}]
["2","031302010001","工程按质论价","分部分项工程费+单价措施项目费-除税工程设备费",0]
["3","031302002001","夜间施工",null,0]
["4","031302004001","二次搬运",null,0]
["5","031302005001","冬雨季施工",null,0]
["6","03B001","地上、地下设施、建筑物的临时保护设施",null,0]
["7","031302006001","已完工程及设备保护费",null,0]
["8","031302008001","临时设施费",null,0]
["9","031302009001","赶工措施费",null,0]
["10","03B002","特殊条件下施工增加费",null,0]
["11","031302003001","非夜间施工照明",null,0]
["12","031302011001","住宅工程分户验收",null,0]
["13","031302012001","建筑工人实名制费用",null,0]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第2页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["14","031302015001","智慧工地费用",null,0,{"$nulls":3},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第3页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
["15","031302016001","新冠疫情常态化防控",null,0,{"$nulls":3},"1. 防控物资费：口罩、酒精、测温枪、红外体温探测仪、防护服、护目镜、手套、消毒喷壶、电动喷雾器、水银温度计、防疫标语、宣传牌、废弃防疫物资专用回收箱（垃圾桶）等。2.防控人员费：因疫情防控增加的专职消杀人员及现场管理人员的工资。3.防控增加的临时设施费：主要为现场设置的隔离棚、隔离围栏、隔离用集装箱、扩建的工人宿舍"]
[]
["【清单大师计价软件江苏版V9.45】"]
["总价措施项目清单与计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",{"$nulls":4},"标段：","第4页 共4页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）","调整\n费率（%）","调整后\n金额（元）","备注"]
[{"$nulls":4},0,{"$nulls":3},"等。4.重点人群常态化核酸自费检测费用、交通和时间占用。"]
{"$rows_empty":30}
["合   计"]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"4.3 表-12 其他项目清单与计价汇总表","index":13,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,1],[44,0,44,4]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","金额(元)","结算金额(元)","备注"]
["1","暂列金额",0]
["2","暂估价",0]
["2.1","材料暂估价",0]
["2.2","专业工程暂估价",0]
["3","计日工",0]
["4","总承包服务费",0]
{"$rows_empty":33}
["合  计",null,0]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"4.4 表-12-1 暂列金额明细表","index":14,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,2],[42,0,42,2],[44,0,44,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
{"$rows_empty":39}
["合  计",null,null,0]
[]
["【清单大师计价软件江苏版V9.45】"]

{"sheet":"4.5 表-13 规费、税金项目计价表","index":15,"n_rows":41,"n_cols":6,"rows_kept":41,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[38,0,38,4],[40,0,40,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：紫琅新天地商管、物管办公区域装修工程-客服中心安装",null,null,"标段：","第1页 共1页"]
["序号","项目名称","计算基础","计算基数(元)","计算费率(％)","金额(元)"]
["1","规费",null,null,0]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":2.4,"d":"2.400"}]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,{"v":0.42,"d":"0.420"}]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",null,0]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",null,{"v":9,"d":"9.000"}]
{"$rows_empty":30}
["合  计"]
[]
["【清单大师计价软件江苏版V9.45】"]